## Fire Material
Price List
Serial No. | Items | Item Name | HSN Code | UOM | Purchase Price |  | Purchase Date | Vendor | Contact Details
[5 empty] | Qty | Price |  |  | Mobile No. | Email
1 | Elbow | 50 MM G.I.B/W ELBOW | 7307 | Nos. | 1 | 50 | 2025-03-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
2 | GI Pipe | 50 MM GI HEAVY JINDAL | 7306 | Mtrs. | 1 | 397 | 2025-03-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
3 | NRV | 80 mm NRV | 8481 | Nos. | 1 | 1550 | 2025-03-20 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
4 | Foot Valve | 150 mm C.I.BALL TYPE FOOT VALVE (Make Normex) | 84818030 | Nos. | 1 | 10515 | 2025-04-04 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
5 | Foot Valve | 100 mm C.I.BALL TYPE FOOT VALVE (Make Normex) | 84818030 | Nos. | 1 | 5015 | 2025-04-04 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
6 | Butterfly Valve | 150mm C.I Butterfly Valve (Make Hammer) | 84818030 | Nos. | 1 | 1950 | 2026-04-29 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
7 | Butterfly Valve | 100mm C.I Butterfly Valve (Make Hammer) | 84818030 | Nos. | 1 | 1435 | 2026-04-29 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
8 | NRV | 25mm PN-16 I.C.304 Disc Check Valve | 8481 | Nos. | 1 | 365 | 2025-04-03 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
9 | NRV | 150mm NRV Dual Plate (Make Hammer) | 8481 | Nos. | 1 | 3855 | 2025-04-03 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
10 | NRV | 100mm NRV Dual Plate (Make Hammer) | 8481 | Nos. | 1 | 2220 | 2026-04-29 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
11 | Ball Valve | 25mm Ball Valve | 8481 | Nos. | 1 | 340 | 2025-04-03 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
12 | Cable | 1.5sqmm 2Core FRLS Cable | 8544 | Mtrs. | 1 | 58 | 2025-12-17 | Ujala | 9773445542
13 | Cable | 2x1.5 sq.mm, PVC insulated 1100V grade, FRLS overall sheathed armored copper conductor Cable | 8544
A | Cable | Polycab, RED FRLS |  | Mtrs. | 1 | 56 | 2025-03-19 | Ajay Industrial Corp. | 7400182957
B | Cable | Polycab, BLACK FRLS |  | Mtrs. | 1 | 60 | 2025-03-19 | Ajay Industrial Corp. | 7400182957
14 | Hose Pipe | 3/4" Water Hose Red Type | 3917 | Mtrs. | 30 | 52 | 2025-04-09 | Sanghvi Mill Stores | 9819059111
15 | Rubber Diaphram | Rubber Diaphram | 4016 | Nos. | 1 | 1175 | 2025-04-10 | Janoki Rubber Palson LLP
16 | Hose Reel Drum | Hose Reel Drum Malaysia Type | 84248990 | Nos. | 1 | 1850 | 2026-03-04 | Bhavani Engg Works | 9833081827
17 | Hose Pipe | RRL Hose Pipe with SS Coupling | 5909 | Nos. | 1 | 2950 | 2025-04-17 | Bhavani Engg Works | 9833081827
18 | Branch Pipe | SS Branch Pipe | 7307 | Nos. | 1 | 1100 | 2025-04-17 | Bhavani Engg Works | 9833081827
19 | Hose Reel Plate | Hose Reel Plate | 8424 | Nos. | 1 | 125 | 2026-03-04 | Bhavani Engg Works | 9833081827
20 | Flange | 65mm MS SO Flange ND 16 | 7307 | Nos. | 1 | 250 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
21 | Flange | 80mm MS SO Flange ND 16 | 7307 | Nos. | 1 | 390 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
22 | Reducer | G.I.B/W Reducer 100 x 80mm | 7307 | Nos. | 1 | 152 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
23 | Washer | 80mm Rubber Flange Waisher | 4016 | Nos. | 1 | 20 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
24 | Washer | 80mm Rubber Flange Waisher IS | 4016 | Nos. | 1 | 20 | 2025-04-11 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
25 | Bolt | Hex Bolt 5/8FTX2.5'Zinc | 7318 | Kgs. | 1 | 100 | 2025-04-11 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
26 | Elbow | 100mm G.I.B/W Elbow | 7307 | Nos. | 1 | 290 | 2026-04-09 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
27 | Flange | 80mm MS SO Flange E | 7307 | Nos. | 1 | 150 | 2025-06-22 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
28 | Flange | 80mm MS SO Flange ND 16 | 7307 | Nos. | 1 | 363 | 2025-04-07 | Advanced Rescue System | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
29 | Reducer | M.S.B/W Reducer 100 x 80mm | 7307 | Nos. | 1 | 128 | 2025-04-07 | Advanced Rescue System | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
30 | GI Pipe | 100mm GI Heavy Jindal | 7306 | Mtrs. | 1 | 959 | 2025-04-07 | Advanced Rescue System | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
31 | Socket | 10mm M.S.Socket | 7307 | Nos. | 1 | 10 | 2025-04-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
32 | Pressure Switch | Pressure Switch Danfoss KP 36 | 9032 | Nos. | 1 | 875 | 2026-01-13 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
33 | Flange | 100mm MS SO Flange E | 7307 | Nos. | 1 | 200 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
34 | Flange | 150mm MS SO Flange E | 7307 | Nos. | 1 | 360 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
35 | Sprinkler | 68deg Concealed Sprinkler Tyco | 8424 | Nos. | 1 | 900 | 2025-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
36 | Flexible Hose | SS Flexible UL 1000mm Tyco | 8307 | Nos. | 1 | 700 | 2025-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
37 | Coupling | 25x15mm MS M/F Coupling | 7307 | Nos. | 1 | 70 | 2026-01-13 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
38 | Sprinkler | Sprinkler 68deg Concealed NUL | 8424 | Nos. | 1 | 400 | 2026-04-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
39 | Nipple | 15X200mm GI Barral Nipple | 7307 | Nos. | 1 | 40 | 2025-04-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
40 | Nipple | 15X250mm GI Barral Nipple | 7307 | Nos. | 1 | 48 | 2025-04-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
41 | Nipple | 15X150mm GI Barral Nipple | 7307 | Nos. | 1 | 30 | 2025-04-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
42 | Socket | 15mm M.S.Socket | 7307 | Nos. | 1 | 12 | 2025-04-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
43 | Elbow | 15mm M.S.Forg Elbow | 7307 | Nos. | 1 | 55 | 2025-04-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
44 | Flexible Hose | Flexible Hose Unbreded 1500mm | 8307 | Nos. | 1 | 400 | 2025-04-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
45 | Flange | 65mm MS SO Flange F | 7307 | Nos. | 1 | 280 | 2025-04-17 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
46 | Reducer | G.I.B/W Reducer 150 x 80mm | 7307 | Nos. | 1 | 290 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
47 | Elbow | 150mm GI B/W Elbow | 7307 | Nos. | 1 | 550 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
48 | GI Pipe | 150mm GI Heavy Jindal | 7306 | Mtrs. | 1 | 1405 | 2026-01-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
49 | Adopter | Adopter | 8481 | Nos. | 1 | 900 | 2025-05-04 | Parshw Engg | 9825878394 | -
50 | Non Return Valve | Non Return Valve | 8481 | Nos. | 1 | 550 | 2025-05-04 | Parshw Engg | 9825878394 | -
51 | Blank Cap | Blank Cap, FBI Cap | 8481 | Nos. | 1 | 40 | 2025-05-04 | Parshw Engg | 9825878394 | -
52 | Lugs | Lugs | 8481 | Nos. | 1 | 330 | 2025-05-04 | Parshw Engg | 9825878394 | -
53 | GI Pipe | 100mm GI Heavy Jindal | 7306 | Mtrs. | 1 | 990 | 2025-07-23 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
54 | Jointer Rod | 10mm Jointer Rod | 7318 | Nos. | 1 | 10 | 2025-05-07 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
55 | Nipple | 100X300mm GI Barral Nipple | 7307 | Nos. | 1 | 380 | 2025-05-07 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
56 | Flexible Hose | 1000mm Flexible Breded No\UL 15mm | 8424 | Nos. | 1 | 300 | 2026-04-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
57 | Hose Pipe Couling | Hose Pipe Coupling | 7412 | Nos. | 1 | 3000 | 2026-04-22 | Parshw Engg | 9825878394 | -
58 | Rosser Plate | Big Rosser Plate | 8424 | Nos. | 1 | 25 | 2025-06-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
59 | Hose Box | Double Door Hose Box | 7310 | Nos. | 1 | 2000 | 2025-09-30 | Bhavani Engg Works | 9833081827
60 | Hose Box | Single Door Hose Box | 7310 | Nos. | 1 | 1150 | 2025-06-05 | Bhavani Engg Works | 9833081827
61 | Hydrant Valve | Single Hydrant Valve SS | 8481 | Nos. | 1 | 3450 | 2025-06-05 | Bhavani Engg Works | 9833081827
62 | Hose Reel Drum | 30Mtr Hose Reel Drum ISI Mark with Nozzle | 8424 | Nos. | 1 | 3100 | 2025-06-05 | Bhavani Engg Works | 9833081827
63 | Fire Brigade Inlet | 4 Way FBI SS | 8481 | Nos. | 1 | 4500 | 2025-06-05 | Bhavani Engg Works | 9833081827
64 | Fire Brigade Inlet | 2 Way FBI SS | 8481 | Nos. | 1 | 2800 | 2025-06-05 | Bhavani Engg Works | 9833081827
65 | Nipple | 15X50mm GI Barral Nipple | 7307 | Nos. | 1 | 10 | 2025-06-10 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
66 | Nipple | 15X80mm GI Barral Nipple | 7307 | Nos. | 1 | 15 | 2025-06-10 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
67 | Landing Valve | SS Landing Valve | 84818010 | Nos. | 1 | 3100 | 2025-06-11 | Parshw Engg | 9825878394 | -
68 | Branch Pipe | SS Branch Pipe with Nozzle | 73072900 | Nos. | 1 | 1250 | 2025-06-11 | Parshw Engg | 9825878394 | -
69 | GI Pipe | 80mm GI Heavy Jindal | 7306 | Mtrs. | 1 | 680 | 2026-02-17 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
70 | Elbow | 80 MM G.I.B/W ELBOW | 7307 | Nos. | 1 | 150 | 2026-04-09 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
71 | NRV | CI Non Return Valve 150 | 8481 | Nos. | 1 | 6450 | 2025-06-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
72 | Washer | 150mm Rubber Flange Waisher | 4016 | Nos. | 1 | 30 | 2025-06-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
73 | Bolt | 100mm G.I.U.Bolt | 7318 | Nos. | 1 | 22 | 2026-04-09 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
74 | NRV | 80mm Check Valve Dual Plate ZOLOTO | 8481 | Nos. | 1 | 3950 | 2025-06-22 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
75 | NRV | CI Non Return Valve 80 | 8481 | Nos. | 1 | 650 | 2025-06-17 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
76 | Shutoff Nozzle | Shutoff Nozzle | 7307 | Nos. | 1 | 280 | 2026-04-22 | Parshw Engg | 9825878394 | -
77 | Fire Alarm Panel | Analogue Addressable 4 Loop Fire Panel expandable upto 8 Loops, Micro processor based, 2 wire fault tolerant loop,with inbuilt network port, Fire Alarm/ Detection control panel. Make: Honeywell(Morley), Model: MA-8000-02 | 8531 | Nos. | 1 | 175000 | 2025-11-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
78 | Fire Alarm Panel | Analogue Addressable 4 Loop Fire Panel expandable upto 8 Loops, Micro processor based, 2 wire fault tolerant loop,with inbuilt network port, Fire Alarm/ Detection control panel. Make: Honeywell(Morley), Model: MA-8000-02 | 8531 | Nos. | 1 | 162000 | 2025-11-19 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
79 | Fire Alarm Panel | Dual Loop Card Compatible with Panel Make: Honeywell(Morley), Model: MA-LIB2-02 | 8531 | Nos. | 1 | 33200 | 2025-11-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
80 | Fire Alarm Panel | Dual Loop Card Compatible with Panel Make: Honeywell(Morley), Model: MA-LIB2-02 | 8531 | Nos. | 1 | 31500 | 2025-11-19 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
81 | Multi Sensor Detector | Addressable MULTI Sensor detectors .With base Make: Honeywell(Morley), Model: HM-PTSE-AP + MI/B501AP/IV | 8531 | Nos. | 1 | 1690 | 2025-11-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
82 | Multi Sensor Detector | Addressable MULTI Sensor detectors .With base Make: Honeywell(Morley), Model: HM-PTSE-AP + MI/B501AP/IV | 8531 | Nos. | 1 | 1600 | 2025-11-19 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
83 | Smoke Detectors | Addressable smoke detectors. With base Make: Honeywell(Morley), Model: HM-PSE-AP +MI/B501AP/IV | 85311020 | Nos. | 1 | 1380 | 2025-11-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
84 | Smoke Detectors | Addressable smoke detectors. With base Make: Honeywell(Morley), Model: HM-PSE-AP +MI/B501AP/IV | 85311020 | Nos. | 1 | 1290 | 2025-11-19 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
85 | MCP | Addressable Manual call points Make: Honeywell(Morley), Model: HM- MCP-G-I + MUS041W | 8531 | Nos. | 1 | 2650 | 2025-11-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
86 | MCP | Addressable Manual call points Make: Honeywell(Morley), Model: HM- MCP-G-I + MUS041W | 8531 | Nos. | 1 | 2550 | 2025-11-19 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
87 | Response Indicator | Response Indicator for above false ceiling detectors Make: Honeywell(Morley), Model: RI/007C | 8531 | Nos. | 1 | 85 | 2025-11-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
88 | Response Indicator | Response Indicator for above false ceiling detectors Make: Honeywell(Morley), Model: RI/007C | 8531 | Nos. | 1 | 90 | 2025-11-19 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
89 | Hardware enabling Key | Hardware Enabling key MODBUS for integration with BMS system Make: Honeywell(Morley), Model: E-SIB-M | 8531 | Nos. | 1 | 79500 | 2025-11-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
90 | Hardware enabling Key | Hardware Enabling key MODBUS for integration with BMS system Make: Honeywell(Morley), Model: E-SIB-M | 8531 | Nos. | 1 | 57000 | 2025-11-19 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
91 | Fire Alarm Panel | 4 Zone Conventional Fire Alarm Panel Make: Ravel, Model: RE-104 | 8531 | Nos. | 1 | 5000 | 2025-12-09 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
92 | Fire Alarm Panel | 4 Zone Conventional Fire Alarm Panel Make: Ravel, Model: RE-104 | 8531 | Nos. | 1 | 5200 | 2025-12-09 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
93 | MCP | Conventional MCP Make: Ravel, Model: RE-716MR | 8531 | Nos. | 1 | 350 | 2025-12-09 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
94 | MCP | Conventional MCP Make: Ravel, Model: RE-716MR | 8531 | Nos. | 1 | 360 | 2025-12-09 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
95 | Hooter / Flasher | Conventional Hooter / Flasher Make: Ravel, Model: RE-25SS | 8531 | Nos. | 1 | 1100 | 2025-12-09 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
96 | Hooter / Flasher | Conventional Hooter / Flasher Make: Ravel, Model: RE-25SS | 8531 | Nos. | 1 | 1200 | 2025-12-09 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
97 | Smoke Detectors | Conventional Photoelectric Smoke Detector (SERIES 54) Make: Ravel, Model: RE-326 | 85311020 | Nos. | 1 | 520 | 2025-12-09 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
98 | Smoke Detectors | Conventional Photoelectric Smoke Detector (SERIES 54) Make: Ravel, Model: RE-326 | 85311020 | Nos. | 1 | 520 | 2025-12-09 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
99 | Multi Sensor Detector | Conventional Multi Sensor Detector Make: Ravel, Model: RE-316SH2l | 8531 | Nos. | 1 | 750 | 2025-12-09 | C P Vaswani | 9820467999 | Prashant.ughade@cpvaswani.com
100 | Multi Sensor Detector | Conventional Multi Sensor Detector Make: Ravel, Model: RE-316SH2l | 8531 | Nos. | 1 | 760 | 2025-12-09 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
101 | Coupling | 25 X 15 MM G.I.COUPLING M/F | 7307 | Nos. | 1 | 75 | 2025-08-10 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
102 | Bolt | Hex Bolt 5/8FTX6'Zinc | 7318 | Kgs. | 1 | 100 | 2025-06-14 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
103 | Gas Release Panel | 2 Zone Gas Release panel - RE- 120GR | 853110 | Nos. | 1 | 7500 | 2025-06-25 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
104 | Flange | 100mm MS SO Flange ND 16 | 7307 | Nos. | 1 | 400 | 2025-06-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
105 | Butterfly Valve | 80mm ZOLOTO BUTTERFLY VALVE WAFER TYPE | 8481 | Nos. | 1 | 3950 | 2025-07-13 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
106 | Butterfly Valve | 100mm ZOLOTO BUTTERFLY VALVE WAFER TYPE | 8481 | Nos. | 1 | 2800 | 2025-06-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
107 | Butterfly Valve | 150mm ZOLOTO BUTTERFLY VALVE WAFER TYPE | 8481 | Nos. | 1 | 4585 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
108 | NRV | 150mm ZOLOTO CHECK VALVE DUAL PLATE | 8481 | Nos. | 1 | 6450 | 2025-06-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
109 | Bolt | Hex Bolt 5/8FTX5'Zinc | 7318 | Kgs. | 1 | 100 | 2025-06-14 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
110 | Fire Alarm Panel | AGNI 2 Zone Conventional Panel | 85311020 | Nos. | 1 | 2250 | 2025-06-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
111 | Fire Alarm Panel | Hooter Cum Strobe | 85311020 | Nos. | 1 | 650 | 2025-06-18 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
112 | Flange | M.S.S/O ASA 300 # FLANGE 50 MM | 7307 | Nos. | 1 | 150 | 2025-06-24 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
113 | Flange | M S S O FLANGE IS 80 MM | 7307 | Nos. | 1 | 245 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
114 | Butterfly Valve | 50mm ZOLOTO BUTTERFLY VALVE WAFER TYPE | 8481 | Nos. | 1 | 1950 | 2025-06-24 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
115 | Hose Reel Drum | Hose Reel Drum Complete ISI Mark | 84241000 | Nos. | 1 | 3450 | 2025-06-28 | Bhavani Engg Works | 9833081827
116 | Fire Buckets | Fire Bucket Lid with Single Stand | 84249000 | Nos. | 1 | 500 | 2025-06-28 | Bhavani Engg Works | 9833081827
117 | Fire Extinguisher | ABC 2Kg | 84241000 | Nos. | 1 | 650 | 2025-07-08 | Bhavani Engg Works | 9833081827
118 | Fire Extinguisher | ABC 4Kg | 84241000 | Nos. | 1 | 1050 | 2025-06-28 | Bhavani Engg Works | 9833081827
119 | Fire Extinguisher | ABC 6Kg | 84241000 | Nos. | 1 | 1250 | 2025-06-28 | Bhavani Engg Works | 9833081827
120 | Fire Extinguisher | ABC 9Kg | 84241000 | Nos. | 1 | 1850 | 2025-06-28 | Bhavani Engg Works | 9833081827
121 | Fire Extinguisher | Co2 2Kg | 84241000 | Nos. | 1 | 2800 | 2025-09-24 | Bhavani Engg Works | 9833081827
122 | Fire Extinguisher | Co2 4.5Kg | 84241000 | Nos. | 1 | 4200 | 2025-09-24 | Bhavani Engg Works | 9833081827
123 | Cable | 1.5sqmm 4Core FRLS Cable | 8544 | Mtrs. | 1 | 114 | 2025-12-17 | Ujala | 9773445542
124 | Flexible Hose | Flexible Hose Unbreded 1500mm NI 18% | 8307 | Nos. | 1 | 630 | 2025-07-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
125 | Sprinkler | Sprinkler 68deg Pendent (SR) UL | 8424 | Nos. | 1 | 155 | 2025-07-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
126 | Flange | M.S.S/O ASA 300 # FLANGE 65 MM | 7307 | Nos. | 1 | 230 | 2025-07-05 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
127 | Reducer | G.I.B/W Reducer 80 x 50mm | 7307 | Nos. | 1 | 78 | 2025-12-15 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
128 | Reducer | G.I.B/W Reducer 100 x 65mm | 7307 | Nos. | 1 | 153 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
129 | Bolt | Through Bolt 10 x 100mm | 7318 | Nos. | 1 | 8 | 2025-11-27 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
130 | Flange | 50mm MS SO Flange F | 7307 | Nos. | 1 | 200 | 2025-07-05 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
131 | Hose Reel | Hose Reel Fitting | 84249000 | Nos. | 1 | 100 | 2025-07-08 | Bhavani Engg Works | 9833081827
132 | Washer | Rubber Flange Washer 3" 80mm | 4016 | Dozen | 1 | 90 | 2025-07-12 | Sahajanand Sales Corporation | 9867216611
133 | Washer | Rubber Flange Washer 4" 100mm | 4016 | Dozen | 1 | 110 | 2025-07-12 | Sahajanand Sales Corporation | 9867216611
134 | Washer | Rubber Flange Washer 6" 150mm | 4016 | Dozen | 1 | 310 | 2025-07-12 | Sahajanand Sales Corporation | 9867216611
135 | Rubber Bidding | Rubber Bidding | 4016 | Mtrs. | 1 | 40 | 2025-07-12 | Sahajanand Sales Corporation | 9867216611
136 | Flange | M.S.S/O ASA 300 # FLANGE 65 MM | 7307 | Nos. | 1 | 230 | 2025-07-05 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
137 | Reducer | M.S. B/W REDUCER 100 X 65 MM | 7307 | Nos. | 1 | 130 | 2025-07-13 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
138 | Flange | M.S.S/O ASA 150 # FLANGE 100 MM | 7307 | Nos. | 1 | 350 | 2025-07-13 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
139 | Cable | 25sqmm 4core Copper Armoured Cable, Polycab | 8544 | Mtrs. | 1 | 1105 | 2025-07-15 | Ajay Industrial Corp. | 7400182957
140 | PRX Liquid | 423320 PRX AGENT 5 GALLON | 3813000 | Nos. | 1 | 29326 | 2025-07-16 | Sagtaur Systems Pvt Ltd. | 8220048274
141 | Nipple | 100X200mm GI Barral Nipple | 7307 | Nos. | 1 | 200 | 2025-07-23 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
142 | Drop IN Anchor | EA M10 N ZP DROP-IN ANCHOR | 7318 | Nos. | 1 | 9.5 | 2025-07-27 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
143 | Flexible Hose | 1500mm Flexible Breded No\UL 15mm | 8424 | Nos. | 1 | 400 | 2025-07-27 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
144 | Cable | 1.5x300mtr Polycab Wire | 8544 | Mtrs. | 1 | 5150 | 2025-08-09 | Ujala | 9773445542
145 | Pressure Gauge | PRESSUER GUAGE 4’’ BOTTOM MS | 9026 | Nos. | 1 | 300 | 2025-12-20 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
146 | Bush | M S BUSHING 15 X 10 MM" | 7307 | Nos. | 1 | 15 | 2025-08-10 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
147 | Bush | M S BUSHING 15 X 6 MM" | 7307 | Nos. | 1 | 15 | 2025-08-10 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
148 | Plug | M.S.PLUG 15 MM | 7307 | Nos. | 1 | 8 | 2025-08-10 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
149 | Air Release Valve | 25mm ZOLOTO FORGED BRASS AIR RLESE Valve | 8481 | Nos. | 1 | 850 | 2025-08-10 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
150 | Speaker Back Box | Speaker Back Box | 49011010 | Nos. | 1 | 350 | 2025-08-14 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
151 | Heat Detector | Ravel Avani HEAT DETECTOR-RE- 317D HL.ADDRESSABLE | 85319000 | Nos. | 1 | 1350 | 2025-08-14 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
152 | Hydrant Valve | HEAVY HYDRANT VALVE BODY CI SPARE 202 | 8481 | Nos. | 1 | 1700 | 2025-08-23 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
153 | MCP | Ravel AVANI MCP -RE-717M.ADDRESSABLE | 85319000 | Nos. | 1 | 166.5 | 2025-08-04 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
154 | Fire Alarm Panel | 12 ZONE FIRE ALARM PANEL MODEL HCF-106 | 85311020 | Nos. | 1 | 16482.5 | 2025-08-30 | Heaven Control | 8850983656 | info@heavencontrol.com
155 | Monitor Module | ZONE MONITOR MODULE HCZMM-1 (EC,LR) 2 SET | 8531 | Nos. | 1 | 807.5 | 2025-08-30 | Heaven Control | 8850983656 | info@heavencontrol.com
156 | CMH Plate | CMH PLATE MODEL HCMH-101 (Z1 TO Z10) 2 SET | 85311020 | Nos. | 1 | 855 | 2025-08-30 | Heaven Control | 8850983656 | info@heavencontrol.com
157 | Hooter | Ravel HOOTER-RE-24CS (Conventional) | 85311020 | Nos. | 1 | 425 | 2025-08-14 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
158 | Fire Extinguisher | 2Kg DCP (ST.Pressure) Type Fire Ext MAP 40% | 84241000 | Nos. | 1 | 650 | 2025-05-03 | Intime | 7400054170 | orders@intimefire.com
159 | Cable | 2.5x300mtr Polycab Wire | 8544 | Mtrs. | 1 | 8075 | 2025-09-10 | Ujala | 9773445542
160 | Bush | M S BUSHING 25 X 15 MM" | 7307 | Nos. | 1 | 30 | 2025-08-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
161 | Ball Valve | 20mm Brass Ball Valve | 8481 | Nos. | 1 | 220 | 2025-09-25 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
162 | Ball Valve | 20mm Brass Ball Valve ZOLOTO | 8481 | Nos. | 1 | 440 | 2025-11-18 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
163 | Air Release Valve | 25mm Air Release Valve | 8481 | Nos. | 1 | 400 | 2025-09-25 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
164 | Cable | 1.5x300mtr Wire | 8544 | Mtrs. | 1 | 4750 | 2025-09-05 | Ujala | 9773445542
165 | Fire Alarm Panel | 13 Zone FIRE ALARM PANEL MODEL HCF-106 | 85311020 | Nos. | 1 | 16482.5 | 2025-09-13 | Heaven Control | 8850983656 | info@heavencontrol.com
166 | Hooter Cum Strobe | Agni Hooter Cum Strobe | 85319000 | Nos. | 1 | 575 | 2025-09-03 | Krisha Enterprise | 7574857024
167 | Scaffolding Ladder | MAXELL" Aluminium Scaffolding Ladder ( Rental ) 3 Days SIZE: 6mtr | 995457 | Nos. | 1 | 10000 | 2025-09-13 | Heights & Steps | 9322258284 | heightsandsteps@gmail.com
168 | Multi Sensor Detector | AD-355 Multi Detector | 85311900 | Nos. | 1 | 1950 | 2025-10-04 | JMV Fire Security Systems | 8920591102, 9015798313 | accounts@jmvfire.com, sales@jmvfire.comgmail.com
169 | Control Module | CONTROL MODULE-CMF-300 | 85311900 | Nos. | 1 | 2675 | 2026-02-17 | JMV Fire Security Systems | 8920591102, 9015798313 | accounts@jmvfire.com, sales@jmvfire.comgmail.com
170 | MCP | Manual Call Point-FL-MCP-GLASS | 85311020 | Nos. | 1 | 2875 | 2025-10-04 | JMV Fire Security Systems | 8920591102, 9015798313 | accounts@jmvfire.com, sales@jmvfire.comgmail.com
171 | Cable | 2.5x4core FRLS | 8544 | Mtrs. | 1 | 175 | 2025-10-06 | Ujala | 9773445542
172 | RRL Hose Pipe Stand | RRL Hose Pipe Stand | 59090020 | Nos. | 1 | 225 | 2025-03-29 | Bhavani Engg Works | 9833081827
173 | GI Pipe | 25mm GI Pipe | 7306 | Mtrs. | 1 | 210 | 2025-11-26 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
174 | Battery | CS7 -12 Exide SMF Battery | 85072000 | Nos. | 1 | 685 | 2025-11-15 | Athrva Enterprise | 9223301088 | prashantghag1970@gmail.com
175 | Coupling | 65mm MS Coupling | 7307 | Nos. | 1 | 150 | 2025-11-23 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
176 | Battery | 12V - 7AH Battery | 85072000 | Nos. | 1 | 850 | 2025-11-13 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
177 | Fire Extinguisher Accessories | ABC 4Kg Hose Pipe | 59090010 | Nos. | 1 | 35 | 2025-11-13 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
178 | Fire Extinguisher Accessories | ABC Pressure Gauge | 90262000 | Nos. | 1 | 30 | 2025-11-13 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
179 | Bolt | 80mm G.I.U.Bolt | 7318 | Nos. | 1 | 16 | 2026-04-09 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
180 | Ball Valve | 25mm Brass Ball Valve | 8481 | Nos. | 1 | 350 | 2025-09-25 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
181 | Ball Valve | 10mm Brass Ball Valve ZOLOTO | 8481 | Nos. | 1 | 360 | 2025-11-18 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
182 | Nozzle | 20mm Brazz Nozzle | 8481 | Nos. | 1 | 300 | 2025-11-18 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
183 | Mechanical Foam Liquid | Mechanical Foam Liquid | 38130090 | Pcs | 1 | 110 | 2025-11-14 | Safety Max
184 | Butterfly Valve | 100mm C.I.BUTTERFLY VALVE WAFER TYPE ISI | 84813000 | Nos. | 1 | 1305 | 2025-11-26 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
185 | NRV | 80mm C.I.DUAL PLATE CHECK VALVE Hammer | 84813000 | Nos. | 1 | 1685 | 2026-04-29 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
186 | Butterfly Valve | 80mm C.I.BUTTERFLY VALVE WAFER TYPE | 84813000 | Nos. | 1 | 1150 | 2025-11-26 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
187 | Ball Valve | 25mm Brass Ball Valve Hammer | 84813000 | Nos. | 1 | 340 | 2025-11-26 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
188 | Angle | MS Angle | 72161000 | Kgs. | 1 | 50 | 2025-11-27 | Himalaya Steel N Stone | 8268375077, 8652100000 | himalayasteelnstone@gmail.com
189 | Flange | M.S.S/O ASA 150 # FLANGE 100 MM | 7307 | Nos. | 1 | 350 | 2025-11-28 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
190 | Connector Nipple | C.I.HOSE NIPPLE 20 MM | 7307 | Nos. | 1 | 20 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
191 | Nipple | G.I.BARRAL NIPPLE 15 X 100 MM | 7307 | Nos. | 1 | 20 | 2025-11-28 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
192 | Nipple | G.I.BARRAL NIPPLE 15 X 120 MM | 7307 | Nos. | 1 | 25 | 2025-11-28 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
193 | Nipple | G.I.BARRAL NIPPLE 20 X 80 MM | 7307 | Nos. | 1 | 21 | 2025-11-28 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
194 | Foot Valve | 50 mm C.I.BALL TYPE FOOT VALVE (Make Normex) | 84818030 | Nos. | 1 | 1836 | 2025-12-01 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
195 | Ball Valve | 15mm Brass Ball Valve Hammer | 84813000 | Nos. | 1 | 140 | 2025-12-01 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
196 | Fire Alarm Panel | 10 Zone FIRE ALARM PANEL MODEL HCF - 106 | 84818090 | Nos. | 1 | 13350 | 2025-12-02 | Surya Enterprises | 8850983656
197 | MCP Hooter | COMBINE MCP HOOTER PLATE MODEL HCMH-106 (Z1 TO Z8) 3 SET | 84818090 | Nos. | 1 | 810 | 2025-12-02 | Surya Enterprises | 8850983656
198 | STD Box | CMH STD BOX MODEL HCMB-101 | 94056090 | Nos. | 1 | 150 | 2025-12-02 | Surya Enterprises | 8850983656
199 | Monitor Module | ZONE MONITOR MODULE HCZMM-1 (EC,LR) 3 SET | 8531 | Nos. | 1 | 850 | 2025-08-30 | Surya Enterprises | 8850983656
200 | Auto Dialer | AUTO DAILER SECURICO SEC GSMD | 420212 | Nos. | 1 | 7900 | 2025-12-06 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
201 | Dummy Plate | M.S.DUMMY PLATE 150 MM | 7307 | Nos. | 1 | 150 | 2026-01-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
202 | Nipple | G.I.BARRAL NIPPLE 25 X 150 MM | 7307 | Nos. | 1 | 45 | 2026-03-02 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
203 | Reducer | G.I.B/W REDUCER 80 X 100 MM | 7307 | Nos. | 1 | 152 | 2025-12-15 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
204 | Reducer | G.I.B/W REDUCER 80 X 50 MM | 7307 | Nos. | 1 | 85 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
205 | Fire Extinguisher | 6Kg DCP (ST.Pressure) Type Fire Ext MAP 40% | 84241000 | Nos. | 1 | 1270 | 2025-12-10 | Intime | 7400054170 | orders@intimefire.com
206 | Nipple | G.I.BARRAL NIPPLE 25 X 200 MM | 7307 | Nos. | 1 | 50 | 2025-12-20 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
207 | Elbow | G.I.S/W & BSP ELBOW 25 X 25 MM | 7307 | Nos. | 1 | 75 | 2025-12-20 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
208 | Elbow | 25mm G.I.B/W ELBOW | 7307 | Nos. | 1 | 28 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
209 | Bolt | 150mm G.I.U.Bolt | 7318 | Nos. | 1 | 35 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
210 | Branch Pipe | Branch Pipe | 73072900 | Nos. | 1 | 950 | 2025-12-18 | Parshw Engg | 9825878394 | -
211 | Signages | Photoluminescent Fire Extinguisher Signage 4x12 | 8310 | Nos. | 1 | 84 | 2025-12-26 | Autolite | Neha: 9552337788
212 | GI Pipe | 32mm GI Heavy Jindal | 7306 | Mtrs. | 1 | 296 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
213 | GI Pipe | 32mm GI Pipe | 7306 | Mtrs. | 1 | 260 | 2026-03-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
214 | GI Pipe | 40mm GI Pipe | 7306 | Mtrs. | 1 | 300 | 2026-01-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
215 | GI Pipe | 50mm GI Pipe | 7306 | Mtrs. | 1 | 425 | 2026-01-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
216 | GI Pipe | 65mm GI Pipe | 7306 | Mtrs. | 1 | 550 | 2026-01-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
217 | GI Pipe | 80mm GI Pipe | 7306 | Mtrs. | 1 | 675 | 2026-03-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
218 | GI Pipe | 100mm GI Pipe | 7306 | Mtrs. | 1 | 960 | 2026-03-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
219 | GI Pipe | 150mm GI Pipe | 7306 | Mtrs. | 1 | 1425 | 2026-01-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
220 | Junction Box | 4x4 Camera Box |  | Nos. | 1 | 25 | 2026-01-03 | Ujala | 9773445542 | -
221 | Nipple | G.I.BARRAL NIPPLE 32 X 150 MM | 7307 | Nos. | 1 | 65 | 2026-03-02 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
222 | GI Pipe | 25mm GI Pipe | 7306 | Mtrs. | 1 | 193 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
223 | GI Pipe | 32mm GI Pipe | 7306 | Mtrs. | 1 | 247 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
224 | GI Pipe | 40mm GI Pipe | 7306 | Mtrs. | 1 | 285.5 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
225 | GI Pipe | 50mm GI Pipe | 7306 | Mtrs. | 1 | 399 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
226 | GI Pipe | 65mm GI Pipe | 7306 | Mtrs. | 1 | 220 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
227 | GI Pipe | 80mm GI Pipe | 7306 | Mtrs. | 1 | 632 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
228 | GI Pipe | 100mm GI Pipe | 7306 | Mtrs. | 1 | 916 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
229 | GI Pipe | 150mm GI Pipe | 7306 | Mtrs. | 1 | 1342 | 2026-01-05 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
230 | Elbow | 25mm GI B/W Elbow SP BP Polish |  | Nos. | 1 | 26 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
231 | Elbow | 50mm GI B/W Elbow SP BP Polish |  | Nos. | 1 | 62 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
232 | Elbow | 100mm GI B/W Elbow SP BP Polish |  | Nos. | 1 | 282 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
233 | Elbow | 150mm GI B/W Elbow SP BP Polish |  | Nos. | 1 | 625 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
234 | Reducer | 80x100mm GI B/W Reducer |  | Nos. | 1 | 152 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
235 | Reducer | 80x150mm GI B/W Reducer |  | Nos. | 1 | 340 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
236 | Reducer | 100x150mm GI B/W Reducer |  | Nos. | 1 | 315 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
237 | Reducer | 50x80mm GI B/W Reducer |  | Nos. | 1 | 87 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
238 | Reducer | 32x50mm GI B/W Reducer |  | Nos. | 1 | 52 | 2026-01-08 | Laxmi Enterprises | 9867906747 | laxmienterprises356@gmail.com
239 | NRV | 25mm Multi Check Valve Hammer | 84813000 | Nos. | 1 | 484 | 2026-01-12 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
240 | Ball Valve | 20mm Brass Ball Valve Hammer | 84813000 | Nos. | 1 | 242 | 2026-01-12 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
241 | Ball Valve | 10mm Brass Ball Valve Hammer | 84813000 | Nos. | 1 | 140 | 2026-01-12 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
242 | Fire Extinguisher Accessories | Iron Handle with Accessories 5Kg | 8424 | Nos. | 1 | 125 | 2026-01-13 | Someshwar Engg. Works | 9322361127 | -
243 | Washer | 83mm Hydrant Disk Washer | 8424 | Nos. | 1 | 12 | 2026-01-13 | Someshwar Engg. Works | 9322361127 | -
244 | Fire Extinguisher Accessories | ABC Pressure Gauge Set | 8424 | Nos. | 1 | 45 | 2026-01-13 | Someshwar Engg. Works | 9322361127 | -
245 | Fire Extinguisher Accessories | ABC Lock Pin 5/10Kg | 8424 | Nos. | 1 | 3.6 | 2026-01-13 | Someshwar Engg. Works | 9322361127 | -
246 | Fire Extinguisher Accessories | Co2 Cycle Grip | 8424 | Nos. | 1 | 8 | 2026-01-13 | Someshwar Engg. Works | 9322361127 | -
247 | Washer | 63mm Hydrant Coupling Washer NON ISI | 8424 | Nos. | 1 | 10 | 2026-01-13 | Someshwar Engg. Works | 9322361127 | -
248 | Grinder Wheel | Cutting Wheel 14" Big | 6804 | Nos. | 1 | 108 | 2026-01-13 | Janta Engineering Stores | 9820081958 | -
249 | Grinder Wheel | Cutting Wheel 4" Small | 6804 | Nos. | 1 | 13 | 2026-01-13 | Janta Engineering Stores | 9820081958 | -
250 | Angle | MS Angle 50x50x6mm | 7216 | Kgs. | 1 | 55 | 2026-01-07 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
251 | Connector Nipple | GI Connector Nipple 20X20mm |  | Nos. | 1 | 145 | 2026-01-28 | Jigna Engineering Works | 9820128033 | -
252 | Fire Extinguisher Accessories | ABC Valve | 84818090 | Nos. | 1 | 160 | 2026-01-31 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
253 | Fire Buckets | Fire Bucket Only 6LTR | 90262000 | Nos. | 1 | 180 | 2026-01-31 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
254 | Fire Extinguisher Accessories | Co2 1Mtr Hose Complete Set | 84249000 | Nos. | 1 | 180 | 2026-01-31 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
255 | Fire Extinguisher Accessories | Co2 Rubber Grip | 95069990 | Nos. | 1 | 15 | 2026-01-31 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
256 | Fire Extinguisher Accessories | Co2 Neck Handle | 84241000 | Nos. | 1 | 45 | 2026-01-31 | Navkar Enterprise | 8652251199, 8424045115, 8652251199
257 | Fire Brigade Inlet | 4 Way FBI ISI 150 | 8481 | Nos. | 1 | 4600 | 2026-01-13 | FM Global
258 | Fire Brigade Inlet | 2 Way FBI | 8481 | Nos. | 1 | 2150 | 2026-01-13 | FM Global
259 | Jubli Clip | 32mm SS Jubli Clip | 73079290 | Nos. | 1 | 15.4 | 2026-02-02 | King Agency | 9869124405 / 9820881659 | kingagency17@gmail.com / kingagency17@yahoo.com
260 | Pressure Gauge | Pressure Gauge 0 to 21, Make: Fiebig | 9026 | Nos. | 1 | 566 | 2026-02-02 | Will Green | 9920961943 | willgreencommercial@gmail.com
261 | Welding Machine Servicing | Welding Machine Servicing | - | Nos. | 1 | 500 | 2026-02-04 | Ajay Electronics | 9892503345, 9819975512 | -
262 | Safety Accessories | Safety Shoes | 6401 | Nos. | 1 | 800 | 2026-02-07 | R P Safety Products, Navi Mumbai | 9699904619, 9167391474 | -
263 | Safety Accessories | Safety Gloves | - | Nos. | 1 | 120 | 2026-02-07 | R P Safety Products, Navi Mumbai | 9699904619, 9167391474 | -
264 | Grinder Wheel | Cutt Off Wheel 4*1 | 6804 | Nos. | 1 | 10 | 2026-02-07 | R P Safety Products, Navi Mumbai | 9699904619, 9167391474 | -
265 | Welding Holder | Welding Holder | - | Nos. | 1 | 50 | 2026-02-07 | R P Safety Products, Navi Mumbai | 9699904619, 9167391474 | -
266 | Welding Holder | Welding Holder | 8517 | Nos. | 1 | 300 | 2026-01-13 | Janta Engineering Stores | 9820128033 | -
267 | Dummy Plate | M.S.DUMMY PLATE 100 MM | 7307 | Nos. | 1 | 20 | 2026-01-21 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
268 | Elbow | 25 MM G.I.S/W ELBOW | 7307 | Nos. | 1 | 75 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
269 | Elbow | 32 MM G.I.S/W ELBOW | 7307 | Nos. | 1 | 130 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
270 | Reducer | 150 X 100 MM G.I.B/W REDUCER | 7307 | Nos. | 1 | 295 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
271 | Flange | 50mm MS SO Flange ND 16 | 7307 | Nos. | 1 | 180 | 2026-01-12 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
272 | Smoke Detectors | Apollo Smoke Detector Series 65 | 853190 | Nos. | 1 | 690 | 2026-02-04 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
273 | Hooter | Agni Conventional Hooter | 85311020 | Nos. | 1 | 200 | 2026-02-17 | Accruepole Pvt Ltd | Sapana: 8850943796, Accruepole: 9673745668 | Sapana Mishra <sales2@accruepole.com>, Suhas Mangutkar <iam@accruepole.com>, Kavita Kumavat <info@accruepole.com>
274 | Welding Rod | WELDING ELECTRODE, E6013 3.15MM X 350MM | 8311 | Nos. | 1 | 2300 | 2026-02-16 | Khushi Alloys | 9167938853 | info.khushialloys@gmail.com
275 | Flange | M.S.S/O ASA 150 # FLANGE 40 MM | 7307 | Nos. | 1 | 160 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
276 | Reducer | G.I.B/W REDUCER 65 X 40 MM | 7307 | Nos. | 1 | 126 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
277 | Reducer | G.I.B/W REDUCER 100 X 40 MM | 7307 | Nos. | 1 | 210 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
278 | Gasket | 40mm Ring Gasket | 4016 | Nos. | 1 | 12 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
279 | Nut | 8mm HEX NUT ZINC | 7318 | Kgs. | 0.5 | 100 | 2026-02-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
280 | GI Pipe | 25mm GI Heavy Jindal | 7306 | Mtrs. | 1 | 235 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
281 | Angle | MS Angle 40x40x6mm | 7216 | Kgs. | 1 | 60 | 2026-03-04 | Arvind Pipes & Tubes | 9833662060 | info@arvindpipe.net
282 | Elbow | G.I. B/W ELBOW 32MM | 7307 | Nos. | 1 | 35 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
283 | Flange | M S S O FLANGE E 100 MM | 7307 | Nos. | 1 | 200 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
284 | Reducer | G.I.B/W REDUCER 80 X 40 MM | 7307 | Nos. | 1 | 105 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
285 | Flange | M.S.S/O ASA 150 FLANGE 40 MM | 7307 | Nos. | 1 | 160 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
286 | Flange | M S S O FLANGE E 65 MM | 7307 | Nos. | 1 | 140 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
287 | Flange | M S S O FLANGE ND 16 50 MM | 7307 | Nos. | 1 | 210 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
288 | Flange | M S S O FLANGE ND 16 65 MM | 7307 | Nos. | 1 | 280 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
289 | Flange | M.S. S/O ASA 150# FLANGE 40MM | 7307 | Nos. | 1 | 160 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
290 | Washer | RUBBER FLANGE WASHER 65MM | 4016 | Nos. | 1 | 15 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
291 | Washer | RUBBER FLANGE WASHER 40MM | 4016 | Nos. | 1 | 12 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
292 | Elbow | G.I.B/W ELBOW 32MM | 7307 | Nos. | 1 | 35 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
293 | Washer | RUBBER FLANGE WAISHER 25 MM | 4016 | Nos. | 1 | 10 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
294 | Angle | M.S. ANGLE | 7216 | Kgs. | 1 | 60 | 2026-04-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
295 | Seal | PTFE THERED SEAL TAPE 12.5 MM | 3920 | Nos. | 1 | 16 | 2026-04-04 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
296 | Taplon | TAPLON TAPE | 3919 | Nos. | 1 | 8 | 2026-04-09 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
297 | Washer | HYD 2 1/2 COUPLING RUBBER WASHER FOR ISI VALVE | 8424 | Nos. | 1 | 12 | 2026-04-23 | Someshwar Engg. Works | 9322361127 | -
298 | Fire Extinguisher | ABC 04Kg with Complete Accessories | 84241000 | Nos. | 1 | 1100 | 2026-04-29 | Ajay Industries | 9820882888
299 | NRV | HAM CI WAFER TYPE CHECK VALVE FE 80MM | 84813000 | Nos. | 1 | 705 | 2026-04-29 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
300 | NRV | HAM CI WAFER TYPE CHECK VALVE FE 100MM | 84813000 | Nos. | 1 | 940 | 2026-04-29 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
301 | NRV | HAM CI DUAL PLATE CHECK VALVE 50MM | 84813000 | Nos. | 1 | 1255 | 2026-04-29 | CP Valves | 9820973712 | cpvalvesind@hotmail.com
302 | Nut | 5/8 HEX NUT ZINC | 7318 | Kgs. | 1 | 100 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
303 | Rubber Paid | RUBBER PAID 12 MM X 6’’ | 4002 | Nos. | 1 | 35 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
304 | Nipple | G.I.BARRAL NIPPLE 20 X 150 MM | 7307 | Nos. | 1 | 45 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
305 | Nipple | G.I.BARRAL NIPPLE 25 X 80 MM | 7307 | Nos. | 1 | 25 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
306 | Flange | M.S.S/O ASA 150 # FLANGE 25 MM | 7307 | Nos. | 1 | 65 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
307 | Union | G.I.UNION 25 MM | 7307 | Nos. | 1 | 70 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
308 | Tank Nipple | G.I.TANK NIPPLE 25 MM | 7307 | Nos. | 1 | 160 | 2026-04-01 | FM Global | FM Global: 9769365108 | FM GLOBAL ENGINEERS <fmtraders.mumbai@gmail.com>
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
473
474
475
476
477
478
479
480
481
482
483
484
485
486
487
488
489
490
491
492
493
494
495
496
497
498
499
500
501
502
503
504
505
506
507
508
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
531
532
533
534
535
536
537
538
539
540
541
542
543
544
545
546
547
548
549
550
551
552
553
554
555
556
557
558
559
560
561
562
563
564
565
566
567
568
569
570
571
572
573
574
575
576
577
578
579
580
581
582
583
584
585
586
587
588
589
590
591
592
593
594
595
596
597
598
599
600
601
602
603
604
605
606
607
608
609
610
611
612
613
614
615
616
617
618
619
620
621
622
623
624
625
626
627
628
629
630
631
632
633
634
635
636
637
638
639
640
641
642
643
644
645
646
647
648
649
650
651
652
653
654
655
656
657
658
659
660
661
662
663
664
665
666
667
668
669
670
671
672
673
674
675
676
677
678
679
680
681
682
683
684
685
686
687
688
689
690
691
692
693
694
695
696
697
698
699

## Fire Extinguisher
Fire Extinguisher
Serial No. | Item Name | HSN Code | Original Price | Date | Direct Client Price | Safety Max | Sterling & Wilson | Tafex LLP
Change the Capacity Accordingly for ABC
1 | Supply and Installation of following capacity dry chemical powder (store pressure) ABC type Fire Extinguishers conforming to IS 15683 with Mono Ammonium Phosphate powder 50% concentration powder confirming to IS 14609, IS marked, nitrogen Pressurized controllable discharge mechanism, pressure gauge, Discharge hose and Nozzle, range minimum 4 mtrs applicable on class A, B, C type of fire etc as required. Capacity 4 Kg.
Change the Capacity Accordingly for CO2
2 | Carbon Di-oxide made with Aluminum (6061 alloy) Type Fire Extinguisher Capacity 4.5 Kg, confirming to IS:15683 , Gas Confirming to IS ‘15222’ , Cylinder Confirming to ‘IS 15660’ & PESO approved ,Controllable Discharge Mechanism Wheel type Valve, , Discharge Non conducting Horn. Total Filled weight 4.5 kg. 35% lighter than conventional MS cylinder Option of MRI compatible available (made to order) Operating Temperature :- (-)20ºC to (+)55ºC Suitable for ‘B’ ‘C’ Class of FIRE.
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30